## Abs MUC (hidden)
DETAILED AND ABSTRACT ESTIMATE OF PROPOSED MULTY UTILITY CENTER AT-……………………………………. (C.G.)
CIVIL WORK _ MULTY UTILITY CENTER
S. No. | I. No. | PARTICULAR | QTY | UNIT | RATE | AMOUNT
1 | 307 | Excavation for all types and sizes of foundations, trenches ,drains and not more than 1.5m. width and 10 sqm. Area, including dressing and leveling of pits.
|  | Hard rocks. | #REF! | cum | 154.7 | #REF!
2 | 413 | Providing and laying nominal mix cement concrete with crushed stone of 40mm size aggregate using concrete mixer in foundation, plinth and at ground level excluding cost of form work.
1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40mm nominal size).
|  |  | #REF! | cum | 2754.2 | #REF!
3 | 425 | Providing and laying nominal mix reinforced cement concrete with crushed stone aggregate using concrete mixer in all works upto plinth level excluding cost of form work.
|  | 1:1½:3 (1 cement : 1½ coarse sand : 3 graded stone aggregate 20mm nominal size). | #REF! | cum | 4323.5 | #REF!
4 | 904 | Upto 2 Floor, Providing and placing in position reinforcement for R.C.C. work including straightening, cutting, bending, binding etc. complete as per drawings including cost of binding wire in foundation and plinth all complete:
|  | Cold twisted Bar | #REF! | kg | 66 | #REF!
5 | 430 | Providing and fixing form work including centring, shuttering, strutting, staging, propping bracing etc. complete and including its removal at all levels, for: | #REF! | sqm | 220.9 | #REF!
6 | 401 | Filling from available excavated stuff (Excluding rock) in trenches, plinth, sides of foundation etc. in layers not exceeding 20cm in depth consolidating each deposited layer by ramming and watering with a lead upto 50 M. and lift upto 1.5 M. | #REF! | cum | 54.7 | #REF!
7 | 402 | Providing and filling in plinth with sand/ Crusher dust and hard moorum under floor in depth consolidating each deposited layer by ramming and watering, including dressing etc. complete. | #REF! | cum | 222 | #REF!
8 | 1220 | Providing and laying damp proof course (upto 50mm thick) with plain cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded crushed stone aggregate 20mm nominal size) including form work. | #REF! | sqm | 255.6 | #REF!
9 | 605 | Well burnt Modular Brick (open bhatta) clay bricks in foundation and plinth in:
| 606 | Extra for brick work
|  | Cement Mortar 1:6 (1 cement : 6 coarse sand) | #REF! | cum | 2867.5 | #REF!
10 | ammend 9.63 | Providing and fixing clear float toughened glass door or partition in required thickness frameless in appropriated size inclusive of edge molding polish and making required size slot or hole for patch fitting/hardware etc. The glass to be assembled together with patch fitting and hardware in proper alignment with all labour tools and tackles etc. complete. (Patch fittings and hardware to be paid for separately)
| 9.63.1 | 12mm thick for door/partition | #REF! | sqm | 2560 | #REF!
11 | 9.64 | Providing and fixing of stainless steel grade316 patch fittingand hardware of approved (hardwyn,Ozone,Godraj) make in frame less toughened glass door or partition in proper aligment with all tools tackles and labour etc.complete
| 9.64.1 | Top Patch with pivot SS grade 304 | #REF! | Nos. | 2297 | #REF!
| 9.64.2 | Top/Side patch glass or L-connector patch SS grade 304 | #REF! | Nos. | 3058 | #REF!
| 9.64.3 | Bottom patch to be connected with floor machine | #REF! | Nos. | 2145 | #REF!
| 9.64.4 | Bottom lock patch with three key SS grade 304 | #REF! | Nos. | 3245 | #REF!
| 9.64.5 | Corner patch fitting with pivot SS grade 304 | #REF! | Nos. | 3058 | #REF!
| 9.64.6 | Two way action Hydraulic floor spring machine heavy duty double cylinder type Capacity 120/150 Kg mounted on floor including required cutting on floor and proper grouting with rich cement mortar. | #REF! | Nos. | 7885 | #REF!
| 9.64.7 | H type handle 32x600mm SS 304 grade | #REF! | Nos. | 2871 | #REF!
| 964.8 | Floor/Wall to Glass Connector SS grade 304 | #REF! | Nos. | 1084 | #REF!
12 | 9.47 | Providing and fixing aluminium work for doors, windows, ventilators and partitions made out of extruded aluminium standard sections (main section with minimum 1.5mm thickness) conforming to IS: 733, IS: 1285 mitred and jointed mechanically including aluminium cleats, neoprene weather stripping gasket beveled edge beading, screws duly fixed in wall/ floor with fixing clips or hold fasteners or bolts and nuts as required aluminium sections shall be anodized transparent or dyed to approved shade according to IS: 1868, minimum anodic coating shall be of grade AC-15. (Glazing to be paid for separately:
| 9.47.1 | For fixed portion | #REF! | Kg | 331 | #REF!
13 | 9.47.2 | For shutter of doors, windows & ventilators including providing and making provision for fixing of fitting wherever required including the cost of PVC/ neoprene gasket required (Fittings shall be paid for separately). | #REF! | Kg | 338 | #REF!
14 | 9.48 | Extra for powder coated (minimum 50 micron) aluminium sections instead of anodized. | #REF! | kg | 27 | #REF!
15 | 9.51 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with PVC/ neoprene gasket etc. complete. (Cost of aluminium snap beading shall be paid in basic item):
| 9.51.2 | With float glass panes of 5 mm thickness | #REF! | sqm | 708 | #REF!
16 | 1254 | 25 mm thick KOTA stone flooring over 20mm (Average) thick base of cement mortar 1:6 laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab including grinding rubbing and polishing etc. complete (Area of slab to be over 0.20 sqm ) | #REF! | sqm | 1490 | #REF!
17 | 1007 | Providing and making 12mm thick cement plaster of mix:
|  | In Cement Mortar 1:6 (1 cement : 6 fine sand) | #REF! | sqm | 91.3 | #REF!
18 | 1314 | Applying three coat of cement primer on wall surface complete.
|  | As Per 12mm Plaster Qty. | #REF! | sqm | 20.1 | #REF!
19 | 902 | Structural steel work riveted or bolted or welded in built-up sections, trusses and frames work upto a height of 5m above plinth level, including cutting, hoisting, fixing in position and applying a priming coat of red oxide zinc chromate primer. | #REF! | kg | 132 | #REF!
20 | NS | Provision of 50mm thick insulated sandwich panels for wall structure with 'c' channels and silicon filling in the gaps of toungue & groove arrangements on the wall. | #REF! | sqm | 3300 | #REF!
21 | NS | Supplying and fixing rolling shutter of approved makes made of M.S. laths interlocked together through their entire length and jointed together at the end by end locks, mounted on specially designed pipe shaft with brackets, side guides and arrangements for inside and out side locking with push and pull arrangement complete but excluding the cost of top cover and spring. | #REF! | sqm | 4200 | #REF!
22 | KARNATAKA SOR NO.-38.46.5 | Providing and fixing Self supported,ribbed high quality high rade (D:350 MPA YST Min.) pre painted Galvalume Steel roof sheet,coated with bare galvalume coatin Az 150 GMS/SMTR 55% Al,45% ZN by hot dip process of total coated thickness as specified for different spans with a tolerance of +/- 0.02mm according to technical specification confirming to A 792 with NCCA II-1 or ECCAT4 pencil hardness HB,NCCA standard T bend test. The roof should be fastened to the gutter beam on external sloping side at internal of 51 mm center to center to a depth of 65mm with GI anchor bolts and Neoprane washer and subjecting the gutter beam to schmidt hammer test to ensure the anchorage of the anchor bolts the self supported roofing systemshould be designed to with stand the wind load as per IS 875 part-III and earthquake load as per IS 1893 and the design should also comply with any other technical requirment such as turbo ventilators of .6 mtr. Dia and sky light of size 4.26x0.6 mtr. fixed in each row @10.00mtr. c/c along the length and hanger for electrical fixtures as per the requirment including cost of all materials and labour for erection all lead and lift,loading and unloading HOM of machinaries etc. complete as per Engineer in charge. | #REF! | sqm | 2300 | #REF!
23 | NS | Supplying and fixing turbo ventilators of rupture of FRP structure. | #REF! | Each | 15000 | #REF!
24 | NS | Hangers: Providing and fixing gavalume 1.00mm thick clamps/hangers of size 75x140mm with saddle of 50mm dia, riveted at one side and nut and bolt at other side, to self supported roofing system by mechanical seaming to suspend light fixture/cable stay/false ceiling /duct, etc, at their location which should be planned earlier by engineer-in-charge. Clamps should be fixed during seaming of panels | #REF! | Each | 250 | #REF!
25 | 9.61 | Providing and fixing aluminium composite panels in approved panel sizes, thickness and shape on aluminium frame work on face of building. (Frame to be paid separately)
| 9.61.2 | 4mm thick | #REF! | sqm | 1745 | #REF!
|  |  |  | Total |  | #REF!
|  |  |  | To Say |  | #REF!

## Abs Clvrt (hidden)
DETAILED AND ABSTRACT ESTIMATE OF PROPOSED MULTY UTILITY CENTER AT-…………………………………... (C.G.)
900x900mm BOX CULVERT
S. No. | I. No. | PARTICULAR | QTY | UNIT | RATE | AMOUNT
1 | 3.25 | Construction of RCC Drain/Cover/Chamber
| (I) | Excavation for drain (Earth work in excavation for drain/chamber as per drawing and technical specification, including setting out, construction of shoring and bracing, removal of stumps and other deleterious matter, dressing of sides and bottom and backfilling with approved material.) | 142.29 | cum | 140 | 19920.6
2 | 6.6 | Providing and laying cement concrete for plain concrete/ reinforced concrete ice form work, shuttering complete in as per drawings and specifications.( For Village roads)
| (I) | P.C.C. M-10 | 13.77 | cum | 2789 | 38404.53
3 | 3.25 | Construction of RCC Drain/Cover/Chamber
| (ii) | Construction of RCC drain/chamber cover, placing in position, providing shuttering and concreting by using concrete mixer, compaction by vibration etc complete as per drawings and technical specifications excluding reinforcement. with RCC M-20 | 36.45 | cum | 4146 | 151121.7
4 | 3.25 | Construction of RCC Drain/Cover/Chamber
| (iii) | Supplying, Fitting and Placing un-coated HYSD bar Reinforcement in drain/cover/chamber complete as per Drawing and Technical Specifications. | 2.916 | Mt | 56301 | 164173.716
[5 empty] | Total | 373620.546
[5 empty] | To say | 3.7362

## Abs Road (hidden)
DETAILED AND ABSTRACT ESTIMATE OF PROPOSED MULTY UTILITY CENTER AT-…………………………………... (C.G.)
9.0 M WIDE CC ROAD
S. No. | I. No. | PARTICULAR | QTY | UNIT | RATE | AMOUNT
Excavation in Soil (by Mechanical Means.)
1 | 3.2 | Excavation for roadway in soil using mechanical means including loading in tipper for carrying of cut earth to embankment site and unloading with all lifts and lead upto 1000 meters as per relevant clauses of section 300. | #REF! | cum | 95 | #REF!
2 | 3.15 | Compacting Original Ground
| ( ii ) | Compacting Original Ground supporting embankment Loosening, leveling and compacting original ground to facilitate placement of first layer of embankment, scarified to a depth of 150 mm, mixed with water at O.M.C. and then compacted by rolling so as to achieve minimum dry density as given in table 300-2 for embankment construction. | #REF! | cum | 28 | #REF!
3 | 3.13 | Construction of sub-grade with Material Obtained from Borrow Pits/Borrow Area (Construction of sub-grade with approved material/selected soil having C.B.R.>8 (unless specified otherwise in the contract) obtained from borrow pits with all lifts and leads, transporting to site, spreading, grading to required slope and compacting to meet requirement of table 300-2) | #REF! | cum | 250 | #REF!
4 | 4.1 | Construction of granular sub-base by providing graded Material, , carriage of mixed Material to work site, spreading in uniform layers with motor grader on prepared surface watering, rolling and compacting with vibratory power roller at OMC to achieve the desired density, complete as per clause 401
| A | Plant mix method (with Mechanically crushed stone only)
| (a) | For Lower Sub-base with
| (i) | Grading-III Material | #REF! | cum | 1423 | #REF!
5 | 4.1 | Construction of granular sub-base by providing graded Material, , carriage of mixed Material to work site, spreading in uniform layers with motor grader on prepared surface watering, rolling and compacting with vibratory power roller at OMC to achieve the desired density, complete as per clause 401
| (b) | For Sub-base cum drainage layer or upper sub-base with
| (i) | Grading-V Material | #REF! | cum | 1372 | #REF!
6 | 6.1 | Dry Lean Cement Concrete Sub-base as per IRC:SP-49 (Construction of dry lean cement concrete Sub-base over a prepared sub-grade with coarse and fine aggregate conforming to IS: 383, the size of coarse aggregate not exceeding 26.5 mm, aggregate cement ratio not to exceed 15:1, aggregate gradation after blending to be as per table 600-1, cement content not to be less than 150 kg/cum, optimum moisture content to be determined during trial length construction, concrete strength not to be less than 10 Mpa at 7 days,mixed in a batching plant, transported to site, laid with a paver with electronic sensor, compacting with 8-10 tonnes vibratory roller,finishing and curing as per clause 601.) | #REF! | cum | 2332 | #REF!
7 | 6.3 | Cement Concrete Pavement (Construction of un-reinforced, dowel jointed, plain cement concrete pavement over a prepared sub-base, coarse and fine aggregate conforming to IS:383, and graded as per table 600-3, mixed as per approved mix design at site, laid, spread, vibrated, compacted and finished in a continuous operation including provision of contraction, expansion, construction and longitudinal joints, joint filler, separation membrane, sealant primer, joint sealant, de-bonding strip, dowel bar, tie rod, admixtures as approved, curing compound, finishing to lines and grades as per drawing as per clause 602.)
| ii) | With Cement concrete grade M-30 and minimum cement content @ 375 kg/cum. | #REF! | cum | 4539 | #REF!
8 | 8.44 | Providing and laying of a reinforced cement concrete pipe duct,300 mm dia., across the road ( new construction ) , extending from drain to drain in cuts and toe of slopes to toe of slopes in fills,constructing head walls at both ends, providing a minimum fill of granular material over top and sides of RCC pipes as per IRC: 98- 2011, bedded on a 0.3 m thick layer of granular material free of rock pieces , outer to outer distance of pipes at least half dia of pipe subject to minimum 450 mm in case of double and triple row ducts , joints to be made leak proof, invert level of duct to be above higher than ground level to prevent entry of water and dirt, all as per IRC:98-2011 and approved drawings.
| (i) | Single row for one utility service each pipe 30m interwal | #REF! | Mtr | 553 | #REF!
|  |  |  | Total :- |  | #REF!
|  |  |  | To Say :- |  | #REF!

## Abs Park (hidden)
DETAILED AND ABSTRACT ESTIMATE OF PROPOSED MULTY UTILITY CENTER AT-CHATOUD,DHAMTARI DIVISION (C.G.)
LIGHT VEHICLE PARKING
S. No. | I. No. | PARTICULAR | QTY | UNIT | RATE | AMOUNT
1 |  | Excavation in Soil (by Mechanical Means.)
| 3.2 | Excavation for roadway in soil using mechanical means including loading in tipper for carrying of cut earth to embankment site and unloading with all lifts and lead up to 1000 meters as per relevant clauses of section 300. | 270 | cum | 95 | 25650
2 | 3.13 | Construction of sub-grade with Material Obtained from Borrow Pits/Borrow Area (Construction of sub-grade with approved material/selected soil having C.B.R.>8 (unless specified otherwise in the contract) obtained from borrow pits with all lifts and leads, transporting to site, spreading, grading to required slope and compacting to meet requirement of table 300-2) | 180 | cum | 250 | 45000
3 | 4.1 | Granular Sub-base as per Table:- 400-1 Construction of granular sub-base by providing graded Material, ,carriage of mixed Material to work site, spreading in uniform layers with motor grader on prepared surface watering, rolling and compacting with vibratory power roller at OMC to achieve the desired density, complete as per clause 401
| A | Plant mix method (with Mechanically crushed stone only)
| (a) | For Lower Sub-base with
| (i) | Grading-III Material | 90 | cum | 1423 | 128070
4 | 4.1 | Wet Mix Macadam (Providing, laying, spreading and compacting graded stone aggregate to wet mix macadam specification including premixing the Material with water at OMC in mechanical mix plant carriage of mixed Material by tipper to site, laying in uniform layers with paver in sub- base / base course on well prepared surface and compacting with vibratory roller to achieve the desired density as per clause 406.) | 75 | cum | 1434 | 107550
5 | 3.1 Bldg SOR | Providing and laying nominal mix cement concrete with crushed stone aggregate using concrete mixer in foundation, plinth and at ground level excluding cost of form work.
| 3.1.3 | 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40mm nominal size). | 75 | cum | 2970 | 222750
6 | 4.15 | Providing & laying precast interlocking concrete blocks of minimum compressive strength of 300 kg/sq.cm and approved size ,shape/ pattern over coarse sand bed of thickness up to 40 mm and joints thick filled with fine sand including leveling with surface vibrator, temping and sweeping etc. complete as per IRC-SP-63-2004.
| D) | 60mm thick Polymer coated coloured precast interlock concrete blocks | 750 | Sqm. | 647 | 485250
|  |  |  | Total |  | 1014270
|  |  |  | To Say |  | 10.1427

## Abs Drain (hidden)
DETAILED AND ABSTRACT ESTIMATE OF PROPOSED MULTY UTILITY CENTER AT-…………………………………... (C.G.)
CIVIL WORK - RCC DRAIN _450 X 600MM
S. No. | I. No. | PARTICULAR | QTY | UNIT | RATE | AMOUNT
1 | 3.25 | Construction of RCC Drain/Cover/Chamber
| (i) | Excavation for drain (Earth work in excavation for drain/chamber as per drawing and technical specification, including setting out, construction of shoring and bracing, removal of stumps and other deleterious matter, dressing of sides and bottom and backfilling with approved material.) | #REF! | cum | 140 | #REF!
2 | 6.6 | Providing and laying cement concrete for plain concrete/ reinforced concrete i/c form work, shuttering complete in as per drawings and specifications.( For Village roads)
| (i) | P.C.C. M-10 | #REF! | cum | 2789 | #REF!
3 | 3.25 | Construction of RCC Drain/Cover/Chamber
| (ii) | Construction of RCC drain/chamber cover, placing in position,providing shuttering and concreting by using concrete mixer,compaction by vibration etc complete as per drawings and technical specifications excluding reinforcement.with RCC M-20 | #REF! | cum | 4146 | #REF!
4 | 3.25 | Construction of RCC Drain/Cover/Chamber
| (iii) | Supplying, Fitting and Placing un-coated HYSD bar Reinforcement in drain/cover/chamber complete as per Drawing and Technical Specifications. | #REF! | Mt | 56301 | #REF!
5 | 20.25 Bldg SOR | Providing and constructing brick masonry road gully chamber 50x45x60 cm with well burnt modular clay bricks crushing strength not less than 35kg/cm2 in cement mortar 1:4 (1 cement : 4 coarse sand) including 500x450 mm precast R.C.C. horizontal grating with frame complete as per standard design. | #REF! | each | 2872 | #REF!
|  |  |  | Total |  | #REF!
|  |  |  | To Say |  | #REF!

## Abs HORTI. (hidden)
DETAILED AND ABSTRACT ESTIMATE OF PROPOSED MULTY UTILITY CENTER AT-…………………………………... (C.G.)
HORTICULTURE
S. No. | I. No. | PARTICULAR | QTY | UNIT | RATE | AMOUNT
1 | 301 | Excavation for all types and sizes of foundations, trenches and drains or for any other purpose including disposal of excavated stuff upto 1.0 m lift and lead upto 30m (at least 50m away from the excavated area), including dressing and leveling of pits.
|  | Hard rocks | #REF! | cum | 154.7 | #REF!
2 | 413 | Providing and laying 40mm thick nominal mix plain cement concrete with crushed stone aggregate using concrete mixer in all works upto plinth level excluding cost of form work.
|  | 1:4:8 (1 cement : 4 coarse sand : 8 graded stone aggregate 40mm nominal size). | #REF! | cum | 2454.4 | #REF!
3 | 605 | Well burnt Modular Brick (open bhatta) clay bricks in foundation and plinth in:
| 606 | Extra for brick work
|  | Cement Mortar 1:6 (1 cement : 6 coarse sand) | #REF! | cum | 2867.5 | #REF!
4 | 1220 | Providing and laying damp proof course (upto 50mm thick) with plain cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded crushed stone aggregate 20mm nominal size) including form work. | #REF! | cum | 2867.5 | #REF!
5 | 1011 | Providing and making 20mm thick cement plaster of mix:
|  | In Cement Mortar 1:6 (1 cement : 6 fine sand) | #REF! | Sqm | 161.5 | #REF!
6 | 12.65 | Providing & laying 60mm thick precast interlocking concrete blocks of approved size (approx 305 sqcm) and shape/ pattern, over 40 mm thick average complete coarse sand bed with joints of 3mm thick filled by fine sand including leveling with surface vibrator, temping and sweeping etc. complete of minimum compressive strength of 250 kg/sq.cm
| 12.65.1 | Plain/ normal coloured precast interlock concrete block | #REF! | sqm | 436 | #REF!
| 12.65.2 | Pigment Coloured (rubber mould) precast interlock concrete blocks | #REF! | sqm | 632 | #REF!
7 | 22.2 | Supplying and stacking of good earth at site including royalty, loading, unloading and carriage upto 10 km (earth measured in stacks will be reduced by 20% for payment). | #REF! | cum | 201 | #REF!
8 | 22.3 | Supplying and stacking sludge at site including royalty, loading, unloading and carriage upto 5 km (sludge measured in stacks will be reduced by 8% for payment). | #REF! | cum | 248 | #REF!
9 | 402 | Providing and filling in plinth with sand/ Crusher dust and hard moorum under floor in depth consolidating each deposited layer by ramming and watering, including dressing etc. complete. | #REF! | cum | 222 | #REF!
10 | 22.8 | Spreading of sludge, dump manure or/and good earth in required thickness (Cost of sludge, dump manure or/ and good earth to be paid separately). | #REF! | cum | 17.5 | #REF!
11 | 22.9 | Mixing earth and sludge or manure in proportion specified or directed.
|  | Mixing earth , sand & Sludge | #REF! | cum | 11 | #REF!
12 | 22.24 | Flooding the ground with water including making kiaries and dismantling the same. | #REF! | sqm | 1.1 | #REF!
13 | 22.25 | Providing and planting following herbs in garden including preparation of soil, base plantation, providing and spreading different fertilizers, soil and sand:
| 22.25.1 | Hedges like Alife, Dorenta, Tikoma etc | #REF! | Each | 14 | #REF!
| 22.25.3 | Hibiscus (Flower)/ Rose | #REF! | Each | 26.5 | #REF!
| 22.25.4 | Carpet grass (well developed) | #REF! | sqm | 263 | #REF!
14 | 12.7 | Providing and fixing ceramic glazed wall tiles conforming to IS : 15622 of approved make, colours, shades and size on wall and dados over 12 mm thick bed of cement Mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with matching pigment complete.
| 12.7.1 | Size upto 200x300mm | #REF! | sqm | 587 | #REF!
|  |  |  | Total |  | #REF!
|  |  |  | To Say |  | #REF!

## Abs Bore (hidden)
DETAILED AND ABSTRACT ESTIMATE OF PROPOSED MULTY UTILITY CENTER AT-…………………………………... (C.G.)
BORE WELL- 2 Nos.
S. No. | I. No. | PARTICULAR | QTY | UNIT | RATE | AMOUNT
1 | 21.1 | Boring/drilling bore well perfectly vertical for the specified depth suitable to receive required dia for casing/ strainer pipe, by suitable method prescribed in IS: 2800 (part I), including collecting samples from different strata, preparing and submitting strata chart/bore log, including hire & running charges of all equipments, tools, plants & machineries required for the job, all complete as per direction of Engineer–in-charge upto 90 metre depth below ground level.
| 21.1.1 | All types of soil
| 21.1.1.3 | 150 mm dia. | #REF! | metre | 339 | #REF!
| 21.1.2 | Rocky strata including Boulders.
| 21.1.2.3 | 150 mm dia. | #REF! | metre | 396 | #REF!
2 | 21.2 | Boring/drilling bore well perfectly vertical for the specified depth suitable to receive required dia for casing/ strainer pipe, by suitable method prescribed in IS: 2800 (part I), including collecting samples from different strata, preparing and submitting strata chart/bore log, including hire & running charges of all equipments, tools, plants & machineries required for the job, all complete as per direction of Engineer–in-charge beyond 90 metre & upto 150 metre depth below ground level.
3 | 21.2.2 | Rocky strata including Boulders.
| 21.2.2.3 | 150 mm dia. | #REF! | metre | 424 | #REF!
4 | 21.5 | Supplying, assembling, lowering and fixing in vertical position in bore well, ISI marked G.I. casing pipe (Plain) medium class in 4 to 7 meters length one end fitted with socket as per IS: 1239 (Part-1&Part-2) 1992 with Ivth revision (Up-to-date amendments), of reputed & approved make, including required hire & labour charges, fittings & accessories, all complete, for all depths, as per direction of Engineer- in-charge.
| 21.5.3 | 150 mm nominal dia | #REF! | metre | 1304 | #REF!
.
5 | 21.11 | Providing and fixing suitable size threaded mild steel cap or spot welded plate to the top of bore well housing/ casing pipe, removable as per requirement, all complete for bore well of:
| 21.11.3 | 150 mm dia | #REF! | each | 217 | #REF!
6 | 21.17 | Carrying out the resistivity survey by VES method using Schlumberger configuration for locating the proper spot for drilling of tube well within the selected habitation, including photography, interpretation of resistivity data and submission of report in the desired format along with resistivity readings, necessary graph and photographs. (only successful point is payable) | #REF! | point | 1502 | #REF!
|  |  |  | Total :- |  | #REF!
|  |  |  | To Say :- |  | #REF!

## Abs CW (hidden)
DETAILED AND ABSTRACT ESTIMATE OF PROPOSED MULTY UTILITY CENTER AT-…………………………………... (C.G.)
CIVIL WORK_ COMPOUND WALL i/c GUARD ROOM & ENTRANCE GATE
S. No. | I. No. | PARTICULAR | QTY | UNIT | RATE | AMOUNT
1 | 307 | Excavation for all types and sizes of foundations, trenches ,drains and not more than 1.5m. width and 10 sqm. Area, including dressing and leveling of pits.
|  | Hard rocks. | #REF! | cum | 154.7 | #REF!
2 | 413 | Providing and laying nominal mix cement concrete with crushed stone of 40mm size aggregate using concrete mixer in foundation, plinth and at ground level excluding cost of form work.
|  | 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40mm nominal size). | #REF! | cum | 2754.2 | #REF!
3 | 425 | Providing and laying nominal mix reinforced cement concrete with crushed stone aggregate using concrete mixer in all works upto plinth level excluding cost of form work.
|  | 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size). | #REF! | cum | 3913.9 | #REF!
4 | 904 | Upto 2 Floor, Providing and placing in position reinforcement for R.C.C. work including straightening, cutting, bending, binding etc. complete as per drawings including cost of binding wire in foundation and plinth all complete:
|  | Cold twisted Bar | #REF! | Kg | 66 | #REF!
5 | 430 | Providing and fixing form work including centring, shuttering, strutting, staging, propping bracing etc. complete and including its removal at all levels, for: | #REF! | sqm | 220.9 | #REF!
6 | 420 | Providing and laying damp proof course (upto 50mm thick) with plain cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded crushed stone aggregate 20mm nominal size) including form work. | #REF! | sqm | 237.2 | #REF!
7 | 401 | Filling from available excavated stuff (Excluding rock) in trenches, plinth, sides of foundation etc. in layers not exceeding 20cm in depth consolidating each deposited layer by ramming and watering with a lead upto 50 M. and lift upto 1.5 M. | #REF! | cum | 54.7 | #REF!
8 | 402 | Providing and filling in plinth with sand/ Crusher dust and hard moorum under floor in depth consolidating each deposited layer by ramming and watering, including dressing etc. complete. | #REF! | cum | 222 | #REF!
9 | 605 | Well burnt Modular Brick (open bhatta) clay bricks in foundation and plinth in:
| 606 | Extra for brick work
|  | Cement Mortar 1:6 (1 cement : 6 coarse sand) | #REF! | cum | 2867.5 | #REF!
10 | 8.58 | Providing and fixing bright finished brass butt hinges with brass polished MS screws complete:
| 8.58.1 | 125x85x5.50 mm (Heavy Type) | #REF! | each | 245 | #REF!
Guard Room
11 | 8.60 | Providing and fixing bright finished brass sliding door bolt with nuts and brass polished MS screws complete:
| 8.60.1 | 300x16mm | #REF! | each | 475 | #REF!
12 | 8.61 | Providing and fixing brass door latch with brass polished MS screws complete:
| 8.61.1 | 300x16x5 mm | #REF! | each | 398 | #REF!
13 | 8.62 | Providing and fixing bright finished brass tower bolts (barrel type) with brass polished MS screws complete:
| 8.62.1 | 250x10mm | #REF! | each | 276 | #REF!
14 | 8.65 | Providing and fixing bright finished brass door handles with brass polished MS screws complete:
| 8.65.1 | 125 mm | #REF! | each | 55.5 | #REF!
15 | 8.73 | Providing and fixing 150mm bright finished brass floor door stopper with rubber cushion & brass polished MS screws etc complete to suit the shutter thickness. | #REF! | each | 73 | #REF!
16 | 8.4 | Providing and fixing Dash fastener (for fixing door/ window frames) on C.C. / R.C.C./ Brick masonry surface backing including drilling necessary holes and the cost of bolt etc complete.
| 8.4.3 | Dash fastener 12x100mm | #REF! | each | 39 | #REF!
17 | 920 | Providing and fixing M.S. grill of approved pattern made of M.S. flats or square or round bars welded to steel frame of windows etc. including applying a priming coat welded to frame with all necessary fitting complete including applying a priming of red oxide zinc chromate primer. | #REF! | Kg | 68.5 | #REF!
18 | 9.47 | Providing and fixing aluminium work for doors, windows, ventilators and partitions made out of extruded aluminium standard sections (main section with minimum 1.5mm thickness) conforming to IS: 733, IS: 1285 mitred and jointed mechanically including aluminium cleats, neoprene weather stripping gasket beveled edge beading, screws duly fixed in wall/ floor with fixing clips or hold fasteners or bolts and nuts as required aluminium sections shall be anodized transparent or dyed to approved shade according to IS: 1868, minimum anodic coating shall be of grade AC-15. (Glazing to be paid for separately: | #REF! | Kg | 331 | #REF!
19 | 9.47.2 | For shutter of doors, windows & ventilators including providing and making provision for fixing of fitting wherever required including the cost of PVC/ neoprene gasket required (Fittings shall be paid for separately). | #REF! | Kg | 338 | #REF!
20 | 9.48 | Extra for powder coated (minimum 50 micron) aluminium sections instead of anodized. | #REF! | kg | 27 | #REF!
21 | 9.51 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with PVC/ neoprene gasket etc. complete. (Cost of aluminium snap beading shall be paid in basic item):
| 9.51.1 | With float glass panes of 4 mm thickness | #REF! | sqm | 611 | #REF!
22 | 1254 | 25 mm thick KOTA stone flooring over 20mm (Average) thick base of cement mortar 1:6 laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab including grinding rubbing and polishing etc. complete (Area of slab to be over 0.20 sqm ) | #REF! | sqm | 1490 | #REF!
23 | 1007 | Providing and making 12mm thick cement plaster of mix:
|  | In Cement Mortar 1:6 (1 cement : 6 fine sand) | #REF! | sqm | 91.3 | #REF!
24 | 1314 | Applying two coat of durocem/snowcem paints on wall surface complete. | #REF! | sqm | 15.4 | #REF!
25 | 9.3 | Steel work in tubular (round, square or rectangular hollow tubes etc.) structure in built-up sections, trusses and frame work including cutting, hoisting, fixing in position upto a height of 5m above plinth level, consisting of columns trusses, roof and bottom purlins, base plate, holding down bolts, wind ties bracing (if required), bolts, nuts and washers for fastening etc. complete with applying a priming coat of red oxide zinc chromate primer.
| 9.3.2 | Electric resistance or induction butt welded tubes Grade-300 | #REF! | Kg | 68 | #REF!
26 | 9.43 | Providing and fixing in position chain linked steel wire fabric made of 4 mm dia G.I. wire of required width in mesh to concrete/ wooden/ angle iron posts including securing and screwing with 2mm dia G.I. wire, G.I. staples, G.I.U-nails or steel pins etc., complete.
| 9.43.1 | Aperture 50x50mm | #REF! | Kg | 331 | #REF!
27 | 9.6 | Steel work welded in built up sections/ framed work including cutting, hoisting, fixing in position and applying a priming coat of red oxide zinc chromate primer.
| 9.6.2 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works. | #REF! | kg | 68 | #REF!
28 | 14.22 | Painting on new work (two or more coats) to give an even shade with:
| 14.22.2 | Premium synthetic enamel paint | #REF! | sqm | 47 | #REF!
|  |  | TOTAL |  |  | #REF!
|  |  | TO SAY |  |  | #REF!

## Culvert (hidden)
DETAILED AND ABSTRACT ESTIMATE OF PROPOSED MULTY UTILITY CENTER AT-……………………………………….. (C.G.)
900x900mm BOX CULVERT
S. No. | I. No. | PARTICULAR | Measurement |  |  |  | QTY | UNIT | RATE | AMOUNT
|  |  | NO | L | B | D/H
1 | 3.25 | Construction of RCC Drain/Cover/Chamber
| (I) | Excavation for drain (Earth work in excavation for drain/chamber as per drawing and technical specification, including setting out, construction of shoring and bracing, removal of stumps and other deleterious matter, dressing of sides and bottom and backfilling with approved material.) | 6 | 9 | 1.7 | 1.55 | 142.29 | cum | 140 | 19920.6
2 | 6.6 | Providing and laying cement concrete for plain concrete/ reinforced concrete ice form work, shuttering complete in as per drawings and specifications.( For Village roads)
| (I) | P.C.C. M-10 | 6 | 9 | 1.7 | 0.15 | 13.77 | cum | 2789 | 38404.53
3 | 3.25 | Construction of RCC Drain/Cover/Chamber
| (ii) | Construction of RCC drain/chamber cover, placing in position, providing shuttering and concreting by using concrete mixer, compaction by vibration etc complete as per drawings and technical specifications excluding reinforcement. with RCC M-20
|  | Top & Bottom | 6 | 9 | 1.5 | 0.25 | 20.25
|  | Side Wall | 12 | 6 | 0.25 | 0.9 | 16.2
[5 empty] | Total |  | 36.45 | cum | 4146 | 151121.7
4 | 3.25 | Construction of RCC Drain/Cover/Chamber
| (iii) | Supplying, Fitting and Placing un-coated HYSD bar Reinforcement in drain/cover/chamber complete as per Drawing and Technical Specifications. | 1 | 36.45 |  | 80 | 2916 | Kg
|  | 80 kg per cum |  |  | Total |  | 2.916 | Mt | 56301 | 164173.716
[9 empty] | Total | 373620.546
[9 empty] | To say | 3.7362

## Park (hidden)
DETAILED AND ABSTRACT ESTIMATE OF PROPOSED MULTY UTILITY CENTER AT-…………………………………... (C.G.)
LIGHT VEHICLE PARKING
S. No. | I. No. | PARTICULAR | MEASUREMENT |  |  |  | QTY | UNIT | RATE | AMOUNT
|  |  | NO | L | B | D/H
1 |  | Excavation in Soil (by Mechanical Means.)
| 3.2 | Excavation for roadway in soil using mechanical means including loading in tipper for carrying of cut earth to embankment site and unloading with all lifts and lead up to 1000 meters as per relevant clauses of section 300.
|  | 5.0m. Wide Parking | 2 | 75 | 6 | 0.3 | 270
[5 empty] | Total |  | 270 | cum | 95 | 25650
2 | 3.13 | Construction of sub-grade with Material Obtained from Borrow Pits/Borrow Area (Construction of sub-grade with approved material/selected soil having C.B.R.>8 (unless specified otherwise in the contract) obtained from borrow pits with all lifts and leads, transporting to site, spreading, grading to required slope and compacting to meet requirement of table 300-2)
|  | 5.0m. Wide Parking | 2 | 75 | 6 | 0.2 | 180
[5 empty] | Total |  | 180 | cum | 250 | 45000
3 | 4.1 | Granular Sub-base as per Table:- 400-1 Construction of granular sub-base by providing graded Material, ,carriage of mixed Material to work site, spreading in uniform layers with motor grader on prepared surface watering, rolling and compacting with vibratory power roller at OMC to achieve the desired density, complete as per clause 401
| A | Plant mix method (with Mechanically crushed stone only)
| (a) | For Lower Sub-base with
| (i) | Grading-III Material
|  | 5.0m. Wide Parking | 2 | 75 | 6 | 0.1 | 90
[5 empty] | Total |  | 90 | cum | 1423 | 128070
4 | 4.1 | Wet Mix Macadam (Providing, laying, spreading and compacting graded stone aggregate to wet mix macadam specification including premixing the Material with water at OMC in mechanical mix plant carriage of mixed Material by tipper to site, laying in uniform layers with paver in sub- base / base course on well prepared surface and compacting with vibratory roller to achieve the desired density as per clause 406.)
|  | 5.0m. Wide Parking | 2 | 75 | 5 | 0.1 | 75
[5 empty] | Total |  | 75 | cum | 1434 | 107550
5 | 3.1 Bldg SOR | Providing and laying nominal mix cement concrete with crushed stone aggregate using concrete mixer in foundation, plinth and at ground level excluding cost of form work.
| 3.1.3 | 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40mm nominal size).
|  | 5.0m. Wide Parking | 2 | 75 | 5 | 0.1 | 75
[5 empty] | Total |  | 75 | cum | 2970 | 222750
6 | 4.15 | Providing & laying precast interlocking concrete blocks of minimum compressive strength of 300 kg/sq.cm and approved size ,shape/ pattern over coarse sand bed of thickness up to 40 mm and joints thick filled with fine sand including leveling with surface vibrator, temping and sweeping etc. complete as per IRC-SP-63-2004.
| D) | 60mm thick Polymer coated coloured precast interlock concrete blocks
|  | 5.0m. Wide Parking | 2 | 75 | 5 |  | 750
[5 empty] | Total |  | 750 | Sqm. | 647 | 485250
[8 empty] | Total |  | 1014270
[8 empty] | To Say |  | 10.1427

## MRF
DETAIL ESTIMATE OF THE GAYA JI @MRF
SEGREGATION CENTER USED BY RATES OF ALL ITEM CPWD SOR
S. No. | PARTICULAR | Measurment |  |  |  | QTY | UNIT | RATE | AMOUNT
|  | NO | L | B | D/H
1 | Earth work in excavation by manual means in trenches for foundations, drains, pipes, cables etc. (Not exceeding 1.5 mtr in width) and for shafts, wells, cesspits and the like not exceeding 1 Osqm on plan, depth upto 1.5mtr. including disposal of excavated earth upto 1 mtr from cutting edge, disposed earth is to be levelled and neatly dressed in:
All Kinds of soil
|  |  |  | Total |  | 75 | cum
2 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m
[6 empty] | 480 | cum
3 | 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size). |  |  |  |  | 4
|  | 12 | 1.22 | 1.37 | 0.075 | 1.5043
|  | 12 | 1.22 | 1.37 | 0.45 | 9.0256
| PLINTH BEAM | 1 | 0.3 | 0.3 | 280 | 25.2
|  | 12 | 0.45 | 0.45 | 1.8 | 4.374
|  |  |  | Total |  | 40.1038 | cum
4 | Upto to Floor, Providing and placing in position reinforcement for R.C.C. work including straightening, cutting, bending, binding etc. complete as per drawings including cost of binding wire in foundation and plinth all complete:
|  | 12 | 1.22 | 7 | 1.58 | 161.9184
|  | 4 | 1.37 | 7 | 1.58 | 60.6088
[6 empty] | 222.5272 | kg
Column reinforcement
|  | 12 | 1.8 | 8 | 1.58 | 273.024
|  | 4 | 3 | 12 | 0.39 | 56.16
[6 empty] | 329.184 | Kg
Beam reinforcement
|  | 1 | 140 | 6 | 1 | 840
|  | 1 | 980 | 1.5 | 0.39 | 573.3
[6 empty] | 1413.3 | Kg
5 | Providing and fixing form work including centring, shuttering, strutting, staging, propping bracing etc. complete and including its removal at all levels, for:
Foundations, footings, bases of columns etc. for mass concrete.
|  | 12 | 5.6 |  | 0.3 | 20.16
|  | 12 | 1.8 |  | 1.8 | 38.88
|  | 1 | 70 |  | 1.2 | 84
[6 empty] | 143.04 | sqm
6 | 230 thk Brick work with F.P.S. bricks of class designation 75 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:4 (1 cement : 4 coarse sand) | 1 | 78 | 1.5 | 0.3 | 40.5 | cum
7 | 12mm plaster (1:4) inside and outside of wall face | 2 | 78 | 1.5 |  | 156 | sqm
8 | 3 coats of suitable outdoor grade paint on wall face | 2 | 78 | 1.5 |  | 156 | sqm
9 | PAVERS BLOCK :- VEHICLE MOVMENT FLOORING WORK:- Concrete Interlocking Paver Blocks Application: Floor Tiles with sand and labour. | 1 | 557.41 |  |  | 557.41 | Sqm
10 | Providing & fixing of MRF enter/exit ramp in front area. For both rolling shutters .
| 15x4feet | 1 |  |  |  | 1 | No
| 8x4feet | 1 |  |  |  | 1 | No
S. No. | PARTICULAR | Measurment |  |  |  | QTY | UNIT
|  | NO | L | B | D/H
11 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. 40 mm thick with 20 mm nominal size stone aggregate
| Area | 1 |  |  |  | 424
[6 empty] | 424 | sqm
12 | Steel work in built up tubular trusses including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, welded and bolted including special shaped washers etc. complete
13 | Hot finished welded type tubes
MRF TRUSS
| Main Taie | 4 | 15 | 9.75 | Kg/m | 146.25
| Bracing | 2 | 28.365 | 2.54 |  | 144.0942
| Vertical Member | 1 | 7.45 | 2.41 |  | 17.9545
| Main Rafter | 4 | 8.05 | 8.7 |  | 280.14
| Purline | 12 | 23 | 8.36 |  | 2307.36
| Tie Runner | 12 | 30.96 | 8.36 |  | 3105.9072
| Base plate | 12 | 0.15 | 7.85 |  | 14.13
| Gusset Plate | 12 | 0.15 | 7.85 |  | 14.13
| BOLT | 82 | 0.2 | 2.46 |  | 40.344
SUPPORT FRAME
| VERTICAL - SHS 150X150 | 12 | 2.1 | 34.3 |  | 864.36
| HORIZONTAL - SHS 150X150 | 1 | 106 | 28 |  | 2968
| Base plate - 10mm thick | 12 | 0.16 | 157 |  | 301.44
| M16 anchor bolt 750 mm length | 112 |  | 0.18 |  | 20.16
| Gusset Plate 8mm thick | 12 | 0.1 | 62.8 |  | 75.36
| tie beam - shs 150 x 150 | 1 | 70 | 34.2 |  | 2394
FOR CANOPY
| SHS 80X80 | 1 | 5.5 | 11.5 |  | 63.25
| Purlin 75X50 | 4 | 1.5 | 6.5 |  | 39
FOR CHAJJA
| Tie - SHS 80X80 | 64 | 2 | 2.04 |  | 261.12
| slope structure - SHS 75 X 50 | 2 | 70 | 2.04 |  | 285.6
| Total Weight |  |  |  |  | 13342.5999 | kg
14 | Rolling Shutter
Rolling Shutter – 15 ft × 12 ft
Recommended Specifications
Type: Both the Roller Gates of MRF to be functional though a manual pulley system.
Material Options:
Mild Steel (MS) – strong & economical
Galvanized Iron (GI) – rust resistant
Aluminium – lightweight & premium
Suitable For: Garage, main gate, commercial front opening
Standard Details
Width: 15 feet
Height: 12 feet
Area: 180 sq.ft.
Sheet thickness:
20 gauge (heavy duty)
| 22 gauge (normal residential use) | 1 | 94000 |  |  | 94000 | No
| Same Detail and descriptions for 8X12 feet shutter | 1 | 48000 |  |  | 48000 | No
15 | 12mm thk HPL partition with proper backframe & 3 coats of finished paint in color of choice | 1 | 440 |  |  | 440 | sqft
16 | Galvanised wire mesh of average width of aperture 1.4 mm and nominal dia of wire 0.63 mm, vertical support wherever required | 248 | 1.5 |  |  | 372 | sqm
17 | Grid ceiling in office area . | 1 | 12 | 10 |  | 120 | Sft
S. No. | PARTICULAR | Measurment |  |  |  | QTY | UNIT
|  | NO | L | B | D/H
18 | Providing & fixing minimum (0.55mm BMT). Single length Bare Galvalume roofing sheets of trapezoidal industrial trough type (88 mm deep spaced at 200mm c/c) of approved vendor Galvalume / Zincalume alloy coated steel conform AS1397, G550, AZ150 (550 MPa minimum yield stress, 150gsm minimum coating Mass) with all fixing accessories, butyl mastic tape at joints, foam filler matching to the sheet profiled to make leakage proof joints where ever require etc. complete in all respects. Profile should be compatible to take load of solar panel.
| FOR ROOF & GUTTER | 1 | 60 | 45 |  | 2700
FOR FAÇADE
| side 1 | 2 |  |  |  | 450
| side 2 | 2 |  |  |  | 570
| FOR CHAJJA | 1 | 205 | 2.5 |  | 512.5
| FOR CANOPY | 1 | 4 | 14 |  | 56
FOR DOOR & GATES
| Worker gate | 1 | 3 | 6 |  | 18 | Sqft
| Main double door gate (As per design suggested by client) | 2 | 5 | 9 |  | 90
| 18X6 feet |  |  |  |  | 4396.5 | sqft
20 | Supplying & Eraction Turbo Ventilator At Roof Top with All type Fitting, Proper Sealent Filling From All Side to Avoid water Leakage. | 6 |  |  |  | 6 | No
21 | Supplying & Eraction Translucent Fibre Sheet for North Light Provision Under Shed. 2mm Thk Fixed With Screw and All Side Sealent Packed by proper Way for no Leakage of Water. (Size 8 x 4ft). | 6 |  |  |  | 6 | No
24 | PLUMBING WORK:- Costing of PVC, CPVC routes and material . (WC, Wash Basin,water inlet,Water outlet,Roof drain PVC pipe etc) | 3 |  |  |  | 3 | L/S
SANITARY FITTING :- Costing as per make n model
25 | W.C (Hindware Make:- B.R-6800 rs) | 2 |  |  |  | 2 | Nos
26 | Wash basin (Hindware Make :- 6500 Rs) | 2 |  |  |  | 1 | Nos
27 | CP fitting :- (Health facet, Angle valve,Wash Basin Tap,connection pipe,CP jali etc) | 3 |  |  |  | 3 | L/S
28 | Supply & Fixing of 2000 Ltr Pvc Tank tobe installed in toilet block | 3 |  |  |  | 3 | Nos
29 | LABOUR COST OF PLUMBING :- Charges for Toilet fitting & Service area provisioning work. | 1 |  |  |  | 1 | Scope
30 | PVC DOOR:- Providing & Fixing of pvc door for servant toilet. | 3 |  |  |  | 3 | No
31 | TILE FLOORING & WALL:- Providing & Fixing of Tile with chemical on flooring & Wall. | 575 |  |  |  | 575 | Sft
32 | SOAK PIT :- soak pit (also called a recharge pit or percolation pit) is an underground structure used in rainwater harvesting systems to collect rooftop or surface rainwater and allow it to slowly seep into the ground. It helps recharge groundwater and prevents waterlogging.
| 3 ft dia × 6–8 ft deep | 4 |  |  |  |  | No
ELECTRICAL
S. No. | PARTICULAR | Measurment |  |  |  | QTY | UNIT
|  | NO | L | B | D/H
33 | Wiring for 240 volts single phase and neutral 25/32 amps Metal clad 3 pin (IP 55) socket outlet with 25/32 amps double pole MCB in a MS enclosure of approved size and design with 4 sq.mm. PVC insulated copper conductor 1100 volts grade stranded flexible FRLS wires of approved make in concealed or surface mounted suitable size of MS conduit, including providing and fixing of 25/32 amps socket and DP MCB in MS enclosure and earthing of third pin of the socket with 4 sq.mm PVC insulated copper conductor stranded flexible "FRLS" wire. | 1 |  |  |  | 1 | NOS
34 | All Point wiring in 1.6mm thick 20/25mm dia Approved make MS Conduit including cost of Providing and Fixing Saddles, hangers, supports, cutting Chases and filling chases for recessed Conduiting complete as per specifications as required.
| Primary light point controlled by One No. 6A switch | 12 |  |  |  | 16 | NOS
| Secondary looped point | 8 |  |  |  | 12 | NOS
| Primary light point controlled by One No.16A switch | 2 |  |  |  | 6 | NOS
35 | Wiring for circuit / submain along with earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface / recessed 1.6mm thick MS conduit as required. (For Above Item)
| Light Finolex wiring 3X1 Sq mm | 1 |  |  |  | 460 | RM
| Power Finolex wiring 3X1.5 Sqmm | 1 |  |  |  | 380 | RM
36 | Supply and fixing of legrand myrius series -snowy white modular switch socket with multistandard socket with shutter and cover plate housed in factory fabricated 16SWG ISI marked G.I. box duly recessed in wall & complete internal connections with PVC connector, joints and all fixing arrangements in all respect as per satisfaction of Engineer-In-Charge.
| 1 NO 3/5 pin 6A universal socket without switch | 8 |  |  |  | 8 | NOS
| 1 NO 6PIN 16A multi standard switch socket | 6 |  |  |  | 6 | NOS
| modular switch plate with 4 NO switches | 6 |  |  |  | 6 | NOS
| modular switch plate with 2 NO switches | 6 |  |  |  | 6 | NOS
37 | instalaltion of lights | 12 |  |  |  | 12 | NOS
38 | supply of Industrial wall fan Polycab/Equivalent electric 400mm | 4 |  |  |  | 4 | NOS
39 | installation of wall fan | 4 |  |  |  | 4 | NOS
40 | wipro garnet or syska make 15 watt surface mounted led tube light | 8 |  |  |  | 8 | NOS
41 | installation of above item | 8 |  |  |  | 8 | NOS
TOTAL
GST @ 18%
Sub Total